## Slide 1
NCAR/EOL Involvement in Perdigão Experiment
Steve Oncley
National Center for Atmospheric Research
Earth Observing Laboratory
Boulder, CO
I have 3 hats today:
Facility Scientist (supply EOL facilities)
Facility Developer (augment resources)
  CentNet
  TRAM
Researcher (H2O/CO2 budgets)

## Slide 2
NSF/MRI
NEWA
NSF/
Deployment
CentNet
OFAP
ISFS
Perdigão
(~10 SEB + 15 3DS)
(+10 SEB + 60 3DS)
ISS
WVDIAL
(PI-Led)
(EOL-Led)

## Slide 3
NSF/MRI
NEWA
NSF/
Deployment
CentNet
OFAP
ISFS
Perdigão
(~10 SEB + 15 3DS)
(+10 SEB + 60 3DS)
ISS
WVDIAL
(PI-Led)
(EOL-Led)

## Slide 4
NSF/MRI
NEWA
NSF/
Deployment
CentNet
OFAP
ISFS
Perdigão
(~10 SEB + 15 3DS)
(+10 SEB + 60 3DS)
ISS
WVDIAL
(PI-Led)
(EOL-Led)
Science

## Slide 5
EOL Boundary-Layer Profiling
915 MHz Wind Profiler/RASS
Radiosonde launching
(fixed/mobile)
SODAR/RASS
Ceilometer
All-Sky Camera
Developmental 449 MHz Wind Profiler

## Slide 6
SODAR-RASS
(u,v,w,T; 40—200m @15m; 10 min)
RADAR Wind Profiler-RASS
(u,v,w,T; 200—3000+m (1500m T) @50/150m; 5 min)

## Slide 7
Water-Vapor DIAL
Expect humidity profiles equivalent to radiosondes
every minute
from 0.25—4+ km above ground
Even better performance likely by time of Perdigão
How much to run? (Best continuous)

## Slide 9: Integrated Surface Flux System
  ISFS is a configurable suite of tower-based sensors, commonly used to study exchange processes between the atmosphere and the earth's surface.
  ISFS can be deployed as either a
  spatially disperse network of stations to measure the surface energy budget...

## Slide 10: Integrated Surface Flux System
  ... and/or as a dense array of sensors in a single location for an intensive micrometeorological study

## Slide 11: ISFS Measurement Capabilities

## Slide 12: ISFS Logistics
AC line power distribution to 2 km
Off-grid: Solar, wind, (hydrogen fuel cell)
Tripod, triangular, scaffolding towers up to 45m (also have used user-supplied towers)
Field office/laboratory trailer

## Slide 13
ISFS Data System – DSM
Linux
Low power (12 VDC, 5 watts) based on commercial-off-the-shelf electronics
Save every sample with μs timestamp (GPS/network-based)
Ethernet (wired/wireless/cell) for real-time monitoring/control world-wide
Serial ports/USB
Upgradable/Expandable
Extended temperature range (-40C to 50C)
Front panels with surge suppression/power control

## Slide 14
Observations of:
Meteorology
Surface Energy Fluxes
Atmospheric Composition
Surface Characteristics
100 Measurement locations (CentNet)
Disciplines Supported:
Mesoscale Meteorology
Biogeosciences
(Climate Processes)
Hydrology
Urban Meteorology
Wind Energy
Polar Meteorology
20, 5-level Towers
100 Surface Flux Stations
-or-
Notes: New plan: users need greater spatial sampling
still intens/extens modes
disciplines supported

## Slide 15
CentNet: Core Sensor Selection
Fluxes/Hydrology:
Soil Thermal Properties
and Moisture
Meteorology:
Temperature/Humidity
Fluxes/Turbulence:
3-Component Sonic Anemometer with Infrared CO2/H2O Gas Analyzer
Radiative Forcing:
4-Component
Integrated Radiometer
Meteorology:
2-Component Sonic Anemometer
(with heating)
Meteorology/Turbulence:
Absolute Nanobarometer
All-Season Precip.:
Optical Distrometer
Data Quality:
Wetness Sensor

## Slide 16
CentNet Budget
Total need: $7M
$1.2M NSF MRI
+$0.5M NEWA
=$1.7M (25%)

## Slide 17
In Situ Resources:
ISFS: ~10 EBS + 15 3D Sonics
w/NEWA+MRI: + 10 EBS +60 Sonics
DTU: 50 3D Sonics
UND:?
Others:?

## Slide 21
Key questions: (save for Friday discussion?)
What resources will be available (from NEWA partners and us)?
Where/how will these resources be deployed?
Are IOPs needed? If so, when, what duration, how many?
UAV operations
Soundings
Change of Windscanner locations (short-range?)
Mapping of resources to science questions.

## Slide 22
H2O/CO2 Budget Study
bottom = top – sides – storage (air/canopy/surface)
bottom: surface flux, eddy-covariance towers near
ground, rain gauges, tree throughfall/stemflow
top: eddy-covariance fluxes; mean vertical advection;
tall towers, UAV H2O/CO2, lidar winds
sides: eddy-covariance?; horizontal advection; tall
towers, UAV, lidar, sodar/profiler
storage (air): tall towers, UAV
storage (canopy/surface): manual soil sampling, farm
productivity records, stream gauges.
Perdigão is great site, though have to deal with:
Dominate flow is cross-valley, with large gradients
at least at ridges
Seasonal stream drainage
Power transmission line data gaps
(Still) only representational surface coverage (enough?)
Collaboration with Tomas de Figueiredo (IPB) can
supply surface/subsurface water data
(won’t have sensors for mean CO2, CO2 in water)

## Slide 24
Penhas (60km N)

## Slide 25
TRAnsect Measurement (TRAM) System
SPECIFICATIONS (most are flexible):
Track: up to several km loop
Trolley speed: 2-10 m/s
Number of sensor packages: several
Instrumentation payload: several kg
Payload power: <100W at 20-40VDC
RF Modem (2.4 GHz) to transmit data/receive commands
Multiple trolleys could increase sampling
SENSORS:
Sonic Anemometer/thermometer
Temperature/Humidity
CO2 IRGA
Housekeeping: GPS; 3-axis
Flux-gate compass; RFID position
Downward PAR

## Slide 26
TRAM at NIWOT07
(Niwot Ridge FluxNet site, Colorado)
CUFF
Describe other meas...

## Slide 28: ISFS Measurement Capabilities
Turbulent Fluxes
  Momentum
  Sensible and Latent Heat
  Carbon dioxide
  Trace species (with user-provided scalar sensors)

## Slide 29: ISFS Measurement Capabilities
Surface Meteorology
  10m Wind speed and direction
  2m Temperature and relative humidity
  Pressure
  Precipitation

## Slide 30: ISFS Measurement Capabilities
Radiation
  Broad-band shortwave
  Broad-band longwave
  Net
  PAR
  IR surface temperature

## Slide 31: ISFS Measurement Capabilities
Soil
  Temperature
  Moisture
  Heat flux
  Heat capacity

## Slide 32: Mote
Communications
GPS
  Date-Time Stamp / Location
  Deep Sleep
Local Storage
  6-months
Power
  4 -28 VDC
  Solar / Battery: 3+ weeks
Serial Port
  Command Control
  Long-Range Radio
  DSM Interface
Microchip16-bit Processor
I2C / RS232
5 Intelligent Sensors
Status / Auto-Sleep
mesh
Zigbee
Bluetooth
WiFi
Notes: RF options
GPS timetagging

## Slide 33
Data Products
On EOL WWW site (permanently):
Project documentation (site survey through QC processing), photos, etc.
Data overview plots (real-time through QC processing)
QC-d derived statistics (NetCDF)
Field logbook (Source now on NCAR Wiki)
On HPSS (permanently):
- Raw sensor data (NIDAS binary); Duplicate data sets kept until saved on HPSS
On EOL servers, available on demand:
Real-time derived statistics (NetCDF); Can delete once QC is done
QC-d time series (NetCDF); Could move to HPSS
Issues:
QC processing version tracking: Via subversion and manual WWW site entries
Data management plan/data and metadata tracking: TBD
World distribution (EMDAC, Earthcube, CDP, etc.): TBD

## Slide 34
AHATS
SCP

## Slide 35
H2O/CO2 Fluctuations
Use with sonic anemometer to measure fluxes
Need to use open-path sensors to avoid gas handing
Power (with anemometer): 4W
100 samples/s

## Slide 36
Phenomena:
Small gradients (with GPS height survey)
Gravity waves, especially nocturnal
Pressure transport terms in turbulence equations
Features:
Low power
Also absolute barometers ($5K vs. $1.5K)
Easily deployed
Use with quad-disk probe
to reduce dynamic errors
black – nanobarometer
cyan – PTB220
black – sonic anemometer
Nano-barometer