## Slide 1: Microscale modeling of winds over complex terrain using an immersed boundary method on GPU clusters
Inanc Senocak, Rey DeLeon, Clancy Umphrey, Micah Sandusky
High Performance Simulation Laboratory for Thermo-Fluids
Department of Mechanical & Biomedical Engineering
25 September 2014

## Slide 2: Applications
Forecasting to integrate/balance variable generation
Source: Bonneville Power Administration
Image Source: Jeffrey G. Katz, wikicommons
Notes: So now I’ll present three applications where fast computations can make a real difference.
First one is forecasting to integrate and balance variable generation on the grid

## Slide 3: Potential Applications
Collaboration: Phil Anderson (IPCo), Kurt Myers & Jake Gentle (INL)
Image source: Richard Webb,
wikicommons
Dynamic rating of transmission lines

## Slide 4: Microscale modeling with variable input
  4 K20 Tesla: RTF=0.49
  8 K20 Tesla: RTF=0.72
49km × 40km × 1.9km
  78m x 48 m x 10 m

## Slide 5: CFD based dynamic line rating
49km × 40km × 1.9km
  78m x 48 m x 10 m

## Slide 6: GIN3D: GPU-accelerated Incompressible Navier-Stokes 3D solver
Started in 2007
  Multi-GPU parallel
  MPI-CUDA (overlapped)
Buoyancy-driven incompressible flows
Numerical method
  Explicit finite difference
  Projection method, staggered mesh, skew-symmetric formulation
  2nd order Adams-Bashforth
  2nd order central difference, QUICK
Pressure Poisson Equation
  Amalgamated parallel geometric multigrid
Arbitrarily complex terrain
  Immersed boundary method
Turbulence modeling
  Lagrangian dynamic LES
  Wall-modeled LES
Notes: The work that I am going to talk about for the rest of my talk is GIN3D. The unique feature of our code is that we design it for urban and complex terrain. We are not trying to develop a general-purpose CFD solver, like OpenFOAM for instance. We favor Cartesian methods because it maps well to the GPU architecture.

## Slide 7: Validation & Performance Studies (2009-2013)
D. A. Jacobsen, and I. Senocak, “Multi-level parallelism for incompressible flow computations on GPU clusters,” Parallel Computing, 39: 1-20 (2013)
D. A. Jacobsen, and I. Senocak, “A full-depth amalgamated parallel 3D geometric multigrid solver for GPU clusters,” AIAA-2011-946, 49th AIAA Aerospace Sciences Meeting, Orlando, Florida, Jan. 4-7, (2011)
J. Thibault, I. Senocak, Accelerating incompressible flow computations with a Pthreads-CUDA implementation on small-footprint multi-GPU platforms, The Journal of Supercomputing, 59: 693-719 (2012)
R. Deleon, D. A. Jacobsen, and I. Senocak, “Large-eddy simulations of turbulent incompressible flows on GPU clusters,” Computing in Science and Engineering, 15 (1): 26–33 (2013)
Notes: I’ll refer you to these publications for actual CPU/GPU performance comparisons and validation. Bottomline is GPU came on top and we decided to adopt GPU computing in our research.

## Slide 8: Practical Performance: GIN3D vs. OpenFOAM
Each code used its best settings for 2563 domain
Notes: But once in a while we have to make sure that we are still ahead of the curve because it is very easy to lose performance. So for that we run OpenFOAM for the same problem and feel good about ourselves.

## Slide 9: Arbitrarily Complex Terrain

## Slide 10: Two approaches
OpenFOAM Snappy Hex Mesh
GIN3D IB Mesh

## Slide 11: Why immersed boundary method?
Cartesian methods fits to the GPU better. Faster execution
  Forecasting at the microscale
Automated meshing with better numerics

## Slide 12: Immersed Boundary for Complex Terrain
Gilmanov & Sotiropoulos (2005)
Mohd-Yusof (1998)
Fadlun et al. (2000)
Direct-Forcing Approach
Mittal et al. (2008)

## Slide 13: Laminar Flow over Circular Cylinder

## Slide 14: Quantitative comparison

## Slide 15: Issues with IB geometric preprocessing stage
Our revised algorithm fixes these issues

## Slide 16: IB Preprocessor for Arbitrarily Complex Objects

## Slide 17: IB Preprocessor for Arbitrarily Complex Objects

## Slide 18: Distance Field Calculation: Eikonal Equation
Fast Sweeping Method (Zhao, 2004)

## Slide 20: Immersed Boundary for High Re # and Coarse LES
Turbulent Channel Flow at Reτ=1000
Wall modeling, SGS modeling, and IB reconstruction are tied to each other
Log-law mismatch problem due to wall modeling

## Slide 21: Baseline SGS & wall-model
Log-law reconstruction
Hybrid RANS/LES
Lagrangian dynamic Smagorinsky & Prandtl mixing length
Senocak et al., 2004, CTR Brief
Senocak et al., 2007, BLM

## Slide 22: On-going work on wall-modeled LES
DNS of Jimenez and Hoyas (2008)

## Slide 23: Further improvements to the coarse LES
Note that the mesh is really coarse!

## Slide 24: Askervein Hill Simulation
Periodic boundary (!) conditions in streamwise directions

## Slide 25: Askervein Hill Simulation

## Slide 26: Askervein Hill Simulation

## Slide 27: Forecasting potential
Define real-time factor:
Forecasting mode: RTF>1.0
8 Tesla K20 on 4 nodes (Infiniband FDR)

## Slide 28: New NSF Grant (2014-2017)
Sustainable Software Infrastructure Program
Separate from GIN3D effort
GEM3D
Open-source
  NSF program requirement
Multi-GPU parallel
Adaptive Mesh Refinement
Software Engineering

## Slide 29: Conclusions
Fast turnaround on multi-GPU platforms
  Forecasting at the microscale is feasible
  Broadens the application of CFD and LES at the microscale
Cartesian methods have attractive features for many-core computing
  Hardware-oriented numerics
Surface/wall modeling with LES & IB is critical
  Mesh is relatively coarse

## Slide 30: On-going Work
Wall-modeled LES & Immersed Boundary
  LES on a coarse mesh over rough surfaces
  Heat & moisture fluxes
Turbulent Inflow Boundary Conditions
  Arbitrarily Complex Terrain
  Initialization of turbulent fields over complex terrain
Atmospheric Stability
  Unstable/Stable boundary layer
Multi-scale coupling
  GIN3D-WRF
  Concurrent execution on the same cluster (CPU-GPU)

## Slide 31: Acknowledgments
National Science Foundation, CAREER: Multi-scale modeling of short-term forecasting and grid integration of wind energy over complex terrain, PI, Award # 1056110, 01/15/2011-12/31/2015, $400,011
National Science Foundation, MRI: Acquisition of a GPU-accelerated high performance computing and visualization cluster, PI, (co-PIs: Mullner, Marshall, Oxford, Andersen) Award # 1229709, 10/01/2012-09/30/2015, $555,384
National Science Foundation, ATD: Data-driven stochastic source inversion algorithms for event reconstruction of biothreat agent dispersion, Co-PI (PI: Jodi Mead), Award # 1043107, 10/01/2010-09/30/2014, $466,803

## Slide 32: HiPerSimLab

## Slide 34: LES Validation: Reτ=180
Reτ=395

## Slide 35: Askervein AA Line, old simulations

## Slide 36
Askervein AA Line, old simulations

## Slide 37: Sensitivity to RANS-LES Hybridization

## Slide 38: Neutral ABL results from Senocak et al. 2007

## Slide 39: Multi-scale Wind Forecasting Engine
Meso-scale model: WRF
Micro-scale: GIN3D
Concurrent execution
32-node dual-GPU cluster
  With 5x8 tiled display
National Science Foundation, MRI: Acquisition of a GPU-accelerated high performance computing and visualization cluster, Award # 1229709, 10/01/2012-09/30/2014, $555,384