## Slide 1: Potential measurement strategy with lidar and sonics: Opportunity and issues
R.J. Barthelmie1 and S.C. Pryor2
1 Sibley School of Mechanical and Aerospace Engineering
2 Department of Earth and Atmospheric Sciences
Cornell University

## Slide 2: Cornell people
Rebecca J Barthelmie
Specializing in wind resources & wakes
20+ years of atmospheric measurement experience on- and offshore
Interest here: Variability of wind speed/turbulence profiles
+ graduate students with measurement/modeling experience at NOAA, NREL, SgurrEnergy, 3EE
Sara C Pryor
Specializing in fluxes, surface exchange
20+ years of atmospheric measurements in forest, coastal and desert landscapes
Interest here: Fluxes, profiles and forest edges

## Slide 3: Challenges
Integrate data from (different) models and (different) measurements
Framing research questions – scale linkages/interactions

## Slide 4: Instrumentation + example campaigns
Lots of measurements at Risoe/DTU/DMU
DoE funded flux measurements at MMSF (10 years+)
Long-term wake measurements at Indiana Wind Farm (2 years +)
Campaigns at Indiana wind farms (weeks), NREL (months), Lake Erie (weeks)

## Slide 5: Instrumentation Lake Erie
2 km

## Slide 6: Instruments 1: Galion
Scanning pulse lidar
Scan geometries: VAD, PPI, RHI
‘Output’
  Wind speed/direction profiles
  Turbulence (‘staring mode’)/momentum flux (RHI)
Data processing
  Uncertainty quantification & propagation as f(scan geometry, heterogeneity)
  Optimization of scans (trade-off spatial sampling v. temporal ‘repetitions’)
  Optimization of data screening QA/QC (SNR, weighted least squares, outlier detection, flow inhomogeneity assessment)

## Slide 7: Overview of Galion scans

## Slide 8: Spatial variability 11/12 May 2013

## Slide 9: Vertical profiles

## Slide 10: Instrument 2: ZephIR 320
Continuous wave lidar
10 measurement heights
Wind speed/direction profiles to 200 m
Vertical wind speed, “turbulence intensity”

## Slide 11: ZephIR lidar

## Slide 12: Instrument 3: SpiDAR
Lower cost lidar
Made by Pentalum

## Slide 13: Instrument 4: Sonics
Various Gill, Metek 3D sonics
Frequency up to 20 Hz
Turbulent wind components (u,v,w)
Derive heat and momentum fluxes

## Slide 14: Data closure
r | SW MM | NE MM | Z1 SW | Z2 SW | Z3 NE
NE MM | 0.99 |  |  |  | 
Z 1 SW | 0.94 | 0.95 |  |  | 
Z2 SW | 0.94 | 0.95 | 1.00 |  | 
Z3 NE | 0.83 | 0.83 | 0.85 | 0.83 | 
GL SW | 0.89 | 0.90 | 0.91 | 0.82 | 0.79
Barthelmie et al. 2014 BAMS

## Slide 15: Integrating different measurements

## Slide 16: Example WRF plan
Double or triple nest simulations.
  Outer domain at 12 km
  Inner domain 4 km
  Central domain at 1 km
70 vertical levels
Output every 10 minutes
Objectives:
  Optimizing WRF parameterizations/choices
    PBL
    Surface layer
    Surface energy balance closure
  Optimal resolution
    Input datasets (e.g. LULC, SST, terrain)
    WRF simulation & nesting

## Slide 17: Research tasks
Instrument inter-comparison
  Diagnosing measurement differences (physical or instrumental)
  Short time scale – how to cross-calibrate, analyze and then measure
  Direction offsets
Integration of model/measurements
Measuring vertical fluxes and profiles in complex terrain especially at forest edges
Specific research questions
(i) To what degree are wind and turbulence profiles through the heights relevant to wind energy ‘non-ideal’ relative to theoretical predictions made by invoking similarity theory (or derivatives thereof)?
(ii) Can the meandering component of wind turbine wake expansion be quantified and differentiated from diffusive expansion (with a specific focus on wake behavior in complex terrain)?

## Slide 18: Cornell capabilities summary
Pulse scanning lidar (Galion) | 1 | Wind speed (ws), direction (wd) and turbulence intensity (TI). Details = f(operating mode). Vertical range ~500- 1000 m and the horizontal range 1-4 km
Continuous wave vertically-pointing Doppler lidars (ZephIR 150 and 300) | 2 | ws, wd, TI. Vertical range 40-200 m (5 or 10 heights)
Gill WindMaster Pro 3-D sonics | 4 | u, v, w, T at 20 Hz
Other: TSI CPC3788, 3025, FMPS3091, APS3321 |  | Fluxes of other scalars (particles, CO2, H2O), particle size distribution (relevant to lidar retrievals)
WRF modeling |  |