## Slide 1
Formation of nocturnal low-level jets and structure of the nocturnal boundary layer
Petra Klein,
Tim Bonin, Jennifer Newman, Greg Blumberg, Charlotte Wainwright, Phil Chilson
School of Meteorology, University of Oklahoma
David Turner
NOAA National Severe Storms Laboratory, Norman, OK
Sonia Wharton
Lawrence Livermore National Laboratory

## Slide 2: Introduction
Models often have difficulties simulating the mean and turbulent profiles in the NBL
Nocturnal low-level jet (LLJ) important feature of the nocturnal boundary layer (NBL) which is of great importance for wind energy and other applications
Different theories exist; two basic ones:
  Blackadar (1957): inertial oscillation triggered by reduction (or shut-off) of turbulent mixing after sunset
  Holton (1967): diurnal heating profile of east-west sloping terrain in Great Plains
  Shapiro and Fedorovich (2009) expanded Blackadar model and Du and Rottuno (2014) presented an analytical model that combines the two approaches
LLJ also affects turbulence structure

## Slide 3
Hu et al., JGR, 2013

## Slide 4: LLJ affects Urban Heat Island
Strong LLJ=>strong turbulence=>weak cooling in rural terrain around city
=>weak UHI
Strong LLJ, weak UHI
Weak LLJ, strong UHI
Two contrasting episodes
Weak LLJ=>weak turbulence=>strong cooling in rural terrain around city
=>strong UHI

## Slide 5: Ozone Concentrations in OKC during 3 Episodes
Observations WRF output

## Slide 6
LIDAR rotor disk U = 7.4 m/s
LIDAR hub-height U = 7.0 m/s
Turbine nacelle U = 6.88 m/s
IU = 10%
Direction shear = 2°
Power = 311 kW
Typical nighttime stable flow
Nighttime flow with katabatic drainage flows
LIDAR rotor disk U = 5.6 m/s
LIDAR hub-height U = 5.6 m/s
Turbine nacelle U = 5.5 m/s
IU = 23%
Direction shear = 18°
Power = 177 kW
Include times of strong positive and negative wind shear, strong directional shear and high turbulence….all of which affect power generation
These examples show that commercially available Lidars provide useful information about mean wind characteristics.
How well can we measure turbulence characteristics?
Observed inflow conditions at the Altamont Pass Wind Farm

## Slide 7: LABLE I and II Study Area
H- ARM Halo Lidar
R- Raman lidar
T- 60-m tower (sonics at 25,60 m)
E- 4-m Eddy Correlation and flux
A- AERI
H- OU Halo Lidar
S- Metek Sodar
L- Leosphere Lidar (I only)
G- Gallion Lidar (II only)
W–Windcube Lidar
DOE SGP ARM Site
LABLE I
Setup:
LABLE I: 09/18-11/13/12
LABLE II: 06/02-07/08/13

## Slide 8: Key Instruments

## Slide 9: Sodar and Doppler Lidars

## Slide 10: Instrumentation

## Slide 11: LLJs Observed During LABLE I
20 LLJs with peak winds of 10 m s-1
  17 southerly, 3 northerly
Average LLJ core height ≈500 m AGL
  Varied between 250-1000 m AGL
Typical onset around 0-2Z (shortly after sunset)
  30% of LLJs began after 6Z
October 17

## Slide 12: Summary of LLJ Properties during LABLE I

## Slide 13: Instrument Comparison LABLE I
5:30 UTC
11:30 UTC
10/17/2012

## Slide 14: Near-Surface Temperature Gradient
AERI vs. Radiosonde

## Slide 15: Comparisons of 2 LLJ Cases
October 09, 2012
October 24, 2012

## Slide 16: Comparisons of 2 LLJ Cases
October 09, 2012
October 24, 2012

## Slide 17: Comparisons of 2 LLJ Cases
October 09, 2012
October 24, 2012
Blue: Bulk shear VLLJ/ZLLJ
Green: Potential temperature gradient (ΘLLJ-Θsfc/ZLLJ
Red: Mean vertical velocity variance below ZLLJ

## Slide 18: Dual-Doppler wind profile retrieval
LOU  U = VrOU
LGAL  U = VrGAL
OU Halo
Galion
Vr50m
Vr50m
x
x
Vr70m
Vr70m
x
x
Vr105m
x
Vr120m
Vr120m
x
x

## Slide 19: LABLE II Instrument Comparison
Wind Speed and direction from OU Halo Streamline and Gallion Dual Doppler analysis
Wind Speed and direction from ARM Halo Streamline VAD analysis

## Slide 20: LABLE II 06/13/2013
0500 UTC 0600 UTC 0700 UTC
0800 UTC 0900 UTC 1000 UTC

## Slide 21: Conclusions
Lidars measurements provide useful mean wind and turbulence data
  Not only at hub height but also across the entire rotor disk
Continuous monitoring with Lidars and AERI can provide detailed information about structure of the NBL and lead to new insights about development of LLJs
Different scanning strategies are being tested to further improve quality of Lidar turbulence measurements

## Slide 22: OU CLAMPS
Mobile facility which includes the OU HALO Streamline lidar, a Microwave profile, an AERI and a tower with surface observations.
Will be used in summer 2015 during PECAN project

## Slide 23: Urban Studies: Oklahoma City
Skyline during JU2003
Skyline in 2014

## Slide 24: Streamline Halo Doppler Lidar
Pulsed heterodyne lidar
Minimum range ≈100 m
Eye-safe 1.5 μm wavelength
Capable of VAD, DBS, RHI, stare, and custom scans
Range resolution: 18 m (OU)
  30 m (ARM)
Maximum unambiguous velocity: 19.4 m s-1
Maximum rated range: 9.6 km
60-m tower

## Slide 25: LABLE II

## Slide 26: Instrument Comparisons
Sodar vs. Sonic at 60m

## Slide 27: Instrument Comparisons
Sodar vs. Lidar at 90m and 160m

## Slide 28
1s measurements of the 3 wind speed components, horizontal wind speed, and wind direction
u-comp.
v-comp.
w-comp.
Vhor
WD

## Slide 29: Tri-Doppler –WindCube comparison
Tri-Doppler
WindCube